Ireland - Proposal for harmonisation of Carbon Monoxide Alarms (EN 50291-1)

## Introduction

There have been a number of incidences relating to the accidental release of Carbon Monoxide from heat producing appliances in homes in Ireland over the last few years which have resulted in loss of life.  The Irish Government is committed to ensuring that all necessary and reasonable precautions and preventative measures are put in place to reduce the risk associated with Carbon Monoxide that may arise from heat producing appliances in domestic settings.  A list of these measures is included in Appendix 1.

In addition to the measures outlined in Appendix 1, a regulatory requirement to protect the health and safety of the occupants of dwellings by the detection of carbon monoxide (released from heat producing appliances) is currently under consideration as part of the wider review to Part J (Heat Producing Appliances) of Ireland’s Building Regulations.  Draft regulations and the accompanying draft technical guidance document, which include new provisions in respect of Carbon Monoxide alarms, have been notified to the European Commission in accordance with the requirements of Directive 98/34/EC laying down a procedure for the provision of information in the field of technical standards and regulations and of rules on Information Society services (Notification 2012/0461/IRL refers).  The draft Regulations and accompanying technical guidance documents are also available for public comment during this three-month period.

The European Standard EN 50291-1:2010, covers the test methods and performance requirements for electrical apparatus for the detection of Carbon Monoxide in domestic premises.  This EN Standard has been developed by CENELEC Technical Committee 216 (CLC/TC 216) Gas detectors and is a voluntary standard.  It is currently being revised to improve the performance of the alarms.  Evidence shows that the conformity and reliability of Carbon Monoxide alarms currently sold on the European market varies greatly (Appendix 2 provides a list of Carbon Monoxide alarms recalled from the EU market via RAPEX by six Member States since 2007).

## Proposal

The purpose of this paper is to make the case to the European Commission, in particular the Construction unit of DG Enterprise, for the harmonisation of Carbon Monoxide alarms under the Construction Products Directive and Regulation.  It is our view that Carbon Monoxide alarms fall under the scope of this legislation.

In relation to the Construction Products Directive 89/106/EEC (see Essential Requirement No.3), the view of the Irish authorities is that Carbon Monoxide alarms, similar to smoke alarms, reduce the threat to health of the occupants in a dwelling (in particular) as a result of any activity that may give rise to:

“— the giving-off of toxic gas,

— the presence of dangerous particles or gases in the air”.

Similarly, it is Ireland’s view that Carbon Monoxide alarms fall under the scope of the Construction Products Regulation (EU) No. 305/2011 (see Basic Requirements for Construction Works No.3) given Carbon Monoxide alarms reduce the threat to the health and safety of occupants in a dwelling (in particular) as a result of any activity that may give rise to:

“(a) the giving off of toxic gas;

(b)  the emissions of dangerous substances, volatile organic compounds (VOC), greenhouse gases or dangerous particles into indoor or outdoor air;…..

- Faulty discharge of waste water, emission of flue gases or faulty disposal of solid or liquid waste;….”.

In addition, there are similarities such as function, architecture, power, interconnectivity between this safety device and Fire/Smoke detectors (EN 14604) which are already harmonised under Mandate M/109 (see Appendix 3 for further details).

In the interests of the health and safety of all EU citizens we request that the Commission consider this product for harmonisation under the CPD/CPR.

# Appendix 1

# Key Measures in place in Ireland to address Carbon Monoxide risks

Key measures already in place in Ireland to address Carbon Monoxide risks include:

- A Registered Gas Installers scheme imposing a statutory obligation that only competent persons may install and maintain gas installations, thus providing an important level of safety in the industry;

- The Commission for Energy Regulation (CER) and Bord Gais Networks (BGN) run a series of annual radio and television advertising campaigns to raise public awareness about the risk of Carbon Monoxide poisoning.  They also coordinate a very informative website www.carbonmonoxide.ie

- The National Standards Authority of Ireland (NSAI) acting through the Gas Technical Standards Committee, convened a group of gas industry and government technical experts, including the Department of Environment, Community and Local Government, to develop a technically suitable benchmark in lieu of a satisfactory European Standard (the relevant European Standard EN 50291) does not make sufficient provision to ensure that the user can identify sensor failure when it occurs or satisfactorily address the required level of competence for installing such alarms).  This work resulted in the publication on 29 July 2011 of SWiFT 8:2011 Specific Requirements for Electrical Apparatus for the Detection of Carbon Monoxide (CO) in Domestic Premises;

- The CER has extended the Natural Gas Safety Regulatory Framework to include the Liquid Petroleum Gas (LPG) sector which would extend the coverage of the CER's gas safety responsibilities;

- Building Regulations Part L – Conservation of Fuel and Energy – Dwellings has required all new and replacement boilers in dwellings to have an efficiency of 86% since 31 March 2008 and an efficiency of 90% since 1 December 2011.  This promotes the installation of room sealed boilers, which have a much lower risk of the escape of Carbon Monoxide due to shorter flues;

- The Seniors Alert Scheme administered by the Department of Environment, Community and Local Government provides grant support for the supply of equipment, including monitored Carbon Monoxide alarms, to enable older people without sufficient means to continue to live securely in their homes;

- There has also been an awareness campaign for General Practitioners (GPs) / family doctors to increase awareness of Carbon Monoxide risks amongst health professionals.  This is a leaflet campaign for doctor surgeries.  Hospital accident and emergency staff and locum GPs are also targeted as part of this initiative to ensure that medical professionals are alert to the possibility of patients presenting with symptoms of Carbon Monoxide exposure; and

- The CER has organised a Carbon Monoxide awareness week in Ireland in September 2012 which includes an intensive television and radio campaign where energy providers, interested stakeholders and victims of Carbon Monoxide incidents will participate in discussions to increase public awareness of Carbon Monoxide.

# Appendix 2

# Rapex Notifications for Carbon Monoxide alarms

At least 15 RAPEX notifications have been issued by six Member States (Ireland, UK, Finland, France, Germany and Denmark) since 2007 on a wide range of product safety issues that have arisen in respect of Carbon Monoxide alarms.  In all cases, the products concerned were either withdrawn or recalled, by voluntary agreement or by direction from the notifying Member State, from the marketplace.  See European Commission RAPEX notification references below:

64 A12/1046/12	(published on 13-07-2012)

13/0661/12	(published on 04/05/2012)

14/0662/12	(published on 04/05/2012)

15/0663/12	(published on 04/05/2012)

40/0688/12	(published on 04/05/2012)

4/0130/12	(published on 05/02/2012)

37/0080/12	(published on 03/02/2012)

8/0037/12	(published on 02/02/2012)

30/1463/11	(published on 11/12/2011)

20/1346/11	(published on 20/11/2011)

15/1232/09	(published on 3/09/2009)

43/0084/09	(published on 23/01/2009)

10/1077/08	(published on 3/10/2008)

17/0800/08	(published on 25/07/2008)

23/0572/07	(published on 22/06/2007)

# Appendix 3

# Similarities between Smoke alarms and Carbon Monoxide alarms

## Function:

Smoke alarms alert the occupier to the presence of smoke from the products of combustion in a dwelling.  Carbon Monoxide alarms alert the occupier to the presence of Carbon Monoxide from the products of combustion in a dwelling.  Both smoke and Carbon Monoxide are by products of fire.  Carbon Monoxide alarms therefore enhance the safety of fire detection and alarms when installed in domestic premises.  They are both life saving devices.

## Architecture:

Smoke alarms and Carbon Monoxide alarms share a similar architecture in that the housings are required to meet the same requirements.  The amendment EN 50291-1:2010/A1:2012 changed the IP rating of Carbon Monoxide alarms to be similar to smoke alarms.

## Power:

Smoke alarms and Carbon Monoxide alarms are powered by similar sources:

- Mains powered with battery back-up;

- Battery powered with replaceable batteries;

- Battery powered with tamper proof (sealed for life) batteries; and

- Mains powered plug-in.

## Alarm condition:

Smoke alarms and Carbon Monoxide alarms both alert the presence of danger with an audible alarm and also by visual alert.

## Interconnectivity:

In dwellings with multiple smoke alarms and Carbon Monoxide alarms both apparatus can be interconnected to give whole house coverage.

EN 50291-1:2010, Electrical apparatus for the detection of Carbon Monoxide in domestic premises - Part 1: Test methods and performance requirements

EN 14604:2005, Smoke alarm devices

Mandate M/109, Mandate to CEN/CENELEC concerning the execution of standardisation work for harmonized standards on fire alarm/detection, fixed fire-fighting, fire and smoke control and explosion suppression products