EN

|  | EUROPEAN COMMISSION |
| --- | --- |

Brussels,

COMMISSION IMPLEMENTING DECISION

of XXX

amending Commission Decision 97/464/EC on the procedure for attesting the conformity of construction products pursuant to Article 20 (2) of Council Directive 89/106/EEC as regards waste water engineering products

(Text with EEA relevance)

(20../…/EC)

EN

COMMISSION IMPLEMENTING DECISION

of XXX

amending Commission Decision 97/464/EC on the procedure for attesting the conformity of construction products pursuant to Article 20 (2) of Council Directive 89/106/EEC as regards waste water engineering products

(Text with EEA relevance)

(20../.../EC)

THE EUROPEAN COMMISSION,

Having regard to the Treaty on the Functioning of the European Union,

Having regard to Council Directive 89/106/EEC of 21 December 1988, on the approximation of laws, regulations and administrative provisions of the Member States relating to construction products,  and in particular Article 20(2) thereof ,

Whereas:

- On 27 June 1997, the Commission adopted Decision 97/464/EC on the procedure for attesting the conformity of construction products pursuant to Article 20(2) of Council Directive 89/106/EEC as regards wastewater engineering.

- On 20 September 2004, the Commission adopted Decision 2004/663/EC amending Commission Decision 97/464/EC in order to add certain products and intended uses.

- Annex III to Decision 97/464/EC should be amended, to adapt the systems of attestation of conformity for manhole tops and gully tops in order to take into account of uses subject to reaction to fire regulations and because a different level of third party intevention should  be ensured depending on the processes and materials used in the production.

- Decision 97/464/EC should therefore be amended accordingly,

- The measures provided for in this Decision are in accordance with the opinion of the Standing Committee on Construction,

HAS ADOPTED THIS DECISION:

Article 1

In Annex III of Decision 97/464/EC as amended the table is replaced by the following table:

| Product(s) | Intended use(s) | Class(es) (Reaction to fire) | Attestation of conformity system(s) |
| --- | --- | --- | --- |
| Back-flow devices: air admittance valve ventilating pipework Kits for waste water pumping station and effluent lifting plants Kits and elements for waste water treatment plants and on-site treatment equipment, Septic tanks Prefabricated drainage channels Manholes and inspection chambers Step irons, ladders and handrail for manholes and inspection chambers Separators | for all uses when subject to regulations on reaction to fire | A1*, A2*, B*, C* | 1 |
|  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  | (A1 to E)*** | 4 |
| Manhole tops and gully tops | for all uses when subject to regulations on reaction to fire | A1FL*, A2FL*, BFL*, CFL* | 1 |
|  |  | A1FL**, A2FL**, BFL**, CFL**, DFL, EFL | 3 |
|  |  | (A FL to EFL ) *** | 4 |
| System 1: See CPD Annex III.2.(i), without audit-testing of samples System 3: See CPD Annex III.2.(ii), Second possibility System 4: See CPD Annex III. 2.(ii), Third possibility * Products/ materials for which a clearly identifiable stage in the production process results in an improvement of the reaction to fire classification (e.g. an addition of fire retardants or a limiting of organic material) ** Products/ materials not covered by footnote (*). *** Products/ materials that do not require to be tested for reaction to fire (e.g. Products/materials of class A1 according to the Decision 96/603/EC, as amended). |  |  |  |

Article 2

This Decision is addressed to the Member States.

Done at Brussels, […]

For the Commission

Antonio TAJANI

Vice-President

OJ L 40, 11.2.1989, p. 12.

OJ L 198, 25.7.1997, p 33.

OJ L 302, 29.9.2004, p 6.