BELGIUM:

Draft hEN 50575 / Mandate M443

Point ZA.3 of the draft standard: The CE marking symbol to affix shall be in accordance with Directive 93/68/EC and shall be shown on the product labels affixed to the reels, coils or

drums of the power, control and communications cables and accompanying documents for the power, control and communication cables

The Directive 2006/95/EC (art 10), and Belgian regulation transposing it, mentions: 1. The CE conformity marking referred to in Annex III shall be affixed by the manufacturer or his authorised representative established within the Community to the electrical equipment or, failing that, to the packaging, the introduction sheet or the guarantee certificate so as to be visible, easily legible and indelible.

The possibility of having the CE marking on the cables disappears. The market surveillance action will be more difficult, if not impossible. We consider consequently this as a reduction of the quality in comparison with the present situation. Belgium is opposed to diminishing in a new standard a possibility given by a directive.

------------------------------------------------

GERMANY:

OPEN QUESTIONS CONCERNING THE IMPLEMENTATION OF THE CONSTRUCTION PRODUCT REGULATION

- Missing Deadline for Implementation of the Declaration of Performance and CE Marking

According to Article 68, Chapter II of the Construction Product Regulation  – “DECLARATION OF PERFORMANCE AND CE MARKING” – will go into force on July 1, 2013. Until this date, the provisions of the Construction Product Directive remain in force in regard to CE marking as well as the declaration of conformity. Accordingly, an obligation to change the CE marking of all construction products and to provide declarations of performance instead of declarations of conformity theoretically results ‘overnight’. At least in the case of manufacturers with an extensive line of construction products, this simply cannot be implemented. Some form of coexistence phase will be necessary, during which the declaration of performance and declaration of conformity as well as CE marking in accordance with the CPD and the CPR must be accepted parallel.

- Statement of the Year the CE Mark Was First Affixed

Pursuant to Art. 9 (2), the year in which the CE marking was first affixed is to be given within the scope of CE marking. It is not clear whether the year the CE marking was first affixed according to the CPR is meant or, in this sense, whether the year the CE marking was first affixed according to the CPD is meant. In the first case (CE marking according to the CPR), all existing construction products would be marked over the long-term with the digits “13” (for 2013).

- How is Art. 6 (5) “Information in Compliance with REACH, Art 31/33” To Be Implemented?

According to Art. 6 (5), the information given in Art. 31 and Art. 33 of the REACH regulation must be provided with the declaration of performance.

It is assumed that Art. 6 (5) of the CPR is fulfilled if a Safety Data Sheet pursuant to the REACH Regulation is provided with the declaration of performance.

If a construction product does not have a Safety Data Sheet but contains substances that are referred to in Article 33 of the REACH Regulation, the manufacturer would be obligated according to Article 6 (5) of the CPR to include the information required pursuant to Article 33 of the REACH Regulation in the declaration of performance.

- Language of CE Marking?

Article 7 (4) governs the language in which the declaration of performance must be provided but the CPR does not contain an analogous ruling for the language to be used for CE marking. The question then arises which language the manufacturer must use for CE marking.

- Must CE Marking Contain a List of All Essential Characteristics?

Pursuant to Article 6 (3, b), the declaration of performance must contain all essential characteristics that were set out in the harmonised technical specification for the declared intended use or uses. The manufacturer can use the “NPD option” (CPR, Art. 6 (3, f) for those listed essential characteristics for which no performance is declared.

In regard to the information given in the CE marking, Article 9 (2) also states that the performance declared in the declaration of performance is to be given in levels or classes. It remains unclear whether the CE marking must also contain a complete list of the essential characteristics (if applicable with an “NPD” declaration) or whether it would be sufficient to just list the essential characteristics for which a performance has been determined and leave out essential characteristics declared NPD in the CE marking.

In this conjunction, the question arises whether a short form of the CE marking (without stating the essential characteristics) is possible if the declaration of performance contains a complete list of all essential characteristics that were set out in the harmonised technical specification for the declared intended use. According to Guidance Paper D of the European Commission, this approach was permissible under the CPD and also used in practice. The note quoted in the following from the current CEN document “Implementation of the Construction Products Regulation (CPR) in harmonized standards - Template for Annex ZA –“ suggests that a short form of the CE marking should also be possible under the CPR:

“NOTE: in addition to the above, clause ZA.3 of Annex ZA of the standard could include provisions to be followed where it is intended to split the information accompanying the CE marking and to place them in different locations”.

- Provision of the Declaration of Performance – How and When?

Pursuant to Article 7 (1), the manufacturer of a construction product that is placed on the market must provide a declaration of performance in paper form or by electronic means.

When a construction product corresponds to several hENs, is it possible to prepare a single declaration of performance or must, if applicable, several declarations of performance (differentiated according to hEN) be prepared for such products?

- Transitional Provisions

According to Article 66 (2), manufacturers can draw up their declarations of performance on the basis of an attestation of conformity that was issued before July 1, 2013 pursuant to the CPD. These attestations of conformity were issued by bodies that were notified in accordance with the CPD.

The identification number or name and identification number of the notified body called in is to be given in the CE marking as well as in the declaration of performance – section 7 – if applicable (in case of AVCP 1+, 1, 2+, 3 (?)).

In the sense of Article 66 (2), can bodies also be named in the CE marking as set out by the CPR that have a CPD notification or must notified bodies as set out by CPR be given? If it will be necessary to name bodies in the CE marking and in the declaration of performance as set out by the CPR that were already notified for the corresponding task and the hEN, there will most likely be considerable problems or at least temporary bottlenecks because the necessary bodies will not be available in time in the required scope.

- Approach in Case of Contradictions Between the CPR and hEN?

It can be assumed that most of the already existing hENs cannot be adapted to the CPR by July 1, 2013. Therefore, there will most likely be contradictions concerning the content and format of CE marking between the CPR, Article 9 “Rules and conditions for affixing of CE marking” and section “ZA.3 CE marking and labelling” in Annexes ZA of the individual hENs.

What is the approach to be taken in these cases? Must the CE marking of a construction product only be changed when the respective hEN has been adapted to the CPR or must CE marking correspond to the specifications of CPR, Article 9 as of July 1, 2013, even if this would contradict what was set out in Annex ZS of the underlying hEN?

- Delegated Acts of the European Commission for Declaring Performance on a Website

According to Article 60 (b), the European Commission can set out the conditions under which the declaration of performance can be provided on a website through a delegated act.

Will the European Commission make use of this possibility and, if so, how long will it take for this to be set out?