## Slide 1: What is new for NBs (0)
Article 45:
Subsidiaries and subcontractors of notified bodies
3. Activities may be subcontracted or carried out by a subsidiary only with the agreement of the client.
Article 55:
Member States shall ensure that the bodies notified by them participate in the work of that group, directly or by means of designated representatives, or shall ensure that the representatives of notified bodies are informed thereof.
Some NB never appeared at
the SGs meeting
nor seem to be enrolled in CIRCA
Notes: <number>

## Slide 2: What is new for NBs (1)
Article 46:
Use of manufacturer’s facilities
Notified bodies carrying out such tests shall be specifically designated as competent to work away from their own accredited test facilities.
Article 47:
Accreditation
At present there are substantial differences in the accreditation methods
There is a need for coordination of accreditation (not envisaged by the CPR) to provide fair competition among NBs
There is at the moment no accreditation standard for “certification of factory production control”
specifically designated ???
Notes: <number>

## Slide 3: What is new for NBs ? (2)
Art. 48, Annex V – part 3
Horizontal notification for following essential characteristics
Fire reaction,
Fire resistance,
External fire performance
Noise absorption
Emission of dangerous substances
Article 51:
Challenge of competence of NBs
3 different cases
Well done!
Notes: <number>

## Slide 4: What is new for NBs ? (3)
2
Article 52:
Operational obligations
(2) the notified bodies shall respect the degree of rigour required for the product and the part played by the product for the fulfilment of all basic requirements for construction works.
3. Where, in the course of the initial inspection … and of factory production control, a notified body finds that the manufacturer has not ensured the constancy of performance of the manufactured product, it shall require the manufacturer to take appropriate corrective measures and shall not issue a certificate.
Refusal ?
all basic requirements???
Notes: <number>

## Slide 5: What is new for NBs ? (4)
Article 53:
Information obligations for NBs to NA
(a) any refusal, restriction, suspension or withdrawal of certificates;
(c) any request for information on assessment and/or verification of constancy of performance activities carried out which they have received from market surveillance authorities;
Notes: <number>

## Slide 6: What is new for NBs ? (5)
Article 53:
Information obligations for NBs to other NBs
2. Notified bodies shall provide the other bodies notified […] with relevant information on issues relating to negative and, on request, positive results from these assessments and/or verifications
Art. 43.10 … observe professional secrecy with regard to all information gained in carrying out its tasks under Annex V, except in relation to the competent administrative authorities of the Member State in which its activities are carried out
negative results ???
Other NBs not mentioned
Notes: <number>

## Slide 7: What is new for NBs? (6)
Annex V item 7 + Art. 7:
Art 7.4. The declaration of performance shall be supplied in the language or the languages required by the Member State where the product is made available
Annex V.7; shall manufacturers INCLUDE or REFERENCE the certificate??
  (certificate of constancy of performance, certificate of conformity of the factory production control, test/calculation reports – as relevant)
  What language for the certificate
Notes: <number>

## Slide 8: What does not change?
hENs
Harmonised Technical Specifications
Hopefully Annex ZA will be reworded to accommodate for the CPR requirements
Notes: <number>