|  | EUROPEAN COMMISSION ENTERPRISE AND INDUSTRY DIRECTORATE-GENERAL New Approach Industries, Tourism and CSR Construction, Pressure Equipment, Metrology |
| --- | --- |

CONSTRUCT 08/818 B

Brussels, May 2008

CONSOLIDATED QUERIES ON CANDIDATE HARMONIZED STANDARDS

| EN TITLE | COMMENTS | CEN POSITION | CONCLUSION |
| --- | --- | --- | --- |
| EN 1090-1 Execution of steel structures and aluminium structures – Part 1: Requirements for conformity assessment of structural components | FINLAND: Finnish TC 135 mirror committee has decided to vote against the standard. One of the reasons is a wrong interpretation of GP L Methods. GP L Methods 1, 2, 3a and 3b are introduced in Annex ZA. Method 2 (clause ZA.3.3) refers only to EN Eurocodes but it seems to be for made to measure products, since load situations are known. No declared resistance or load bearing capacity values are given. Instead of the declared values of the NDPs the Member State (which NDPs are used) is declared. Method 3a (clause ZA.3.4) is for the case when structural design of the component is made by others than the manufacturer. However, the component specification can be prepared by the purchaser in cooperation with the manufacturer. Note: This means that also the manufacturer can make the structural design calculation outside CE-marking for made to measure products. In this case the structural design could to be checked for example by local construction surveillance authorities. Method 3b (clause ZA.3.5) is for the case when structural design of the component is determined according to the purchasers order. In addition it is explained that the structural design as part of the CE-marking can be performed according to any design specifications (e.g. according to national building codes). | No clear answer given yet | CEN/TC has to provide clear answers to the Finnish queries otherwise the EN will not be cited in OJEU |
| Error: Reference source not found Execution of steel structures and aluminium structures – Part 2: Technical requirements for the execution of steel structures | SWEDEN: Sweden votes no because some of the essential tolerances are too wide to be compatible with the resistance in EN 1993. Tolerances D.1.1 no 4, 5 and 6 are too wide for stocky plates compared to the resistance of a plate under compression according to EN 1933-1-5, see Annex 1. The functional tolerances should in our view not be wider than the essential tolerances. As an example D.2.5 no 1, 2 and 3 are wider than the essential tolerances for plates thinner than 5 mm. D1.3 no 1 and 2 are much wider than current Swedish tolerances and they are not compatible with the resistance of a stocky flange in compression. An example for a flange at the limit of Class 3 is shown in Annex 2. |  |  |
| EN 10138 – 1 Prestressing steels - Part 1:General requirements | GERMANY: The standard contains an opening clause according to which also others than the prestressing steels stated in detail in the standard can be included with other diameters and higher strengths, provided their product properties are verified according to the criteria described in the standard. However, experiences do not exist for these prestressing steels; that is why there are doubts concerning the unconditional application of the provisions of the standard to such prestressing steels. There is the danger that when applying the opening clause future prestressing steels come under the field of application of the standard, which do not show the necessary performance characteristics to guarantee the stability of the construction works according to the essential requirement N° 1. PORTUGAL: Following the discussion held at the last PG meeting on the 7th March on the inadequacy of some statements in pr EN 10138 part 1, on prestressing steel, related to its content (issue raised by the German delegation under item 11 at that meeting), I would like to confirm the Portuguese position expressed at that meeting, seconding the German reservations. This position is coincident with the opinion of the Portuguese representative to the ECISS/TC19/SC2, expressed at its meeting held on the 18th and 19th January 2007. The second paragraph of the scope of prEN 10138 part 1 means that the standard can be applied to other pre-stressing steels not covered in Annex A. This is an opening clause that can’t be accepted by Portugal. From the Portuguese point of view, this standard shall only refer to the product families prescribed within its annex A. For product families which are not stated in the standard, an ETA should be required, as far as they would be considered deviating from those ones to which the standard directly applies. So we consider: - that the second paragraph of the scope of prEN 10138 part 1: “This specification may also be understood to cover other nominal diameters and/or higher technical (strength) classes of uncoated high tensile strength steel products whose details are not stated in this specification or Annex A but whose properties and evaluation and control are carried out consistent with those specified herein.”, must be deleted; - the note of annex A: “Other product families based on steel name and/or nominal diameter are permitted in addition to those listed in Table A.1.”, must be deleted. | ECISS/TC 19/SC2 position: The subject of the Scope of prEN 10138-1 was again discussed at great length at the meeting of ECISS/TC 19/SC 2 held on 26/27 November 2007. During the meeting, a possible modified scope was drafted, which would permit some extension to the scope, but within specified limits. However not all delegates were able to take a decision at the meeting. The revised scope was therefore circulated to ECISS/TC 19/SC 2 for approval by correspondence. The results of the correspondence ballot led to the conclusion that the proposed modified scope was less acceptable than the original. ECISS/TC 19/SC 2 has now taken the decision to launch the Formal Vote on prEN 10138-1 after updating and editorial checking of the draft. However, regarding the issue of the scope of prEN 10138-1, there was a view expressed at the meeting that this was now an issue requiring resolution at a level above that of ECISS/TC 19 and ECISS/TC 19/SC 2 Consultant’s comment: The limitation of the scope to a table of steel grades would force any manufacturer willing to place a new steel grade on the market either to draft an ETA or to wait for the amendment/revision of the standard. ECISS has requested a meeting with the Commission for discussing this issue. The industry could explain more in details that the proposed standard is in compliance with the CPD provisions. ECISS/TC19/SC2 members have tried to modify the text of the scope. However there is still a problem with some manufacturers which would be discriminated. | Meeting with ECISS, Germany Portugal and Commission to be arranged |
| EN 10337 Zinc and zinc alloy coated prestressing steel wires and strands | GERMANY: Concerning the use of zinc and zinc alloy coated prestressing steel wires and strands in concrete, there is a lack of sufficient experience. Meaningful documents which make an assessment of the product possible and, if necessary, the drafting of regulations for design and execution of works by using this product, are not available. During curing the zinc coat of the prestressing steel reacts with the surrounding concrete accompanied by hydrogen evolution. The hydrogen can cause stress corrosion of the prestressing steel. Due to the EG-Guideline 53/2003/EC since 2005 in Europe mostly cement is used which contains less than 2 ppm chromate. The chromate reduction in concrete leads to a higher evolution of hydrogen. In addition the evolution of hydrogen causes a structural change of the concrete in connection with the prestressing steel which can influence the bound behaviour of the prestressing steel. Like EN 10138 this standard contains an opening clause in the definition of the field of application and in Annex A according to which also other prestressing steels not listed in the standard with higher strengths and other diameters are included in the standard provided their product properties are verified according to the criteria described in the standard. There are doubts concerning this opening clause, because experiences do not exist with the new prestressing steels. Therefore there is the danger that when applying the aforementioned opening clause future prestressing steels will come under the scope of the standard, which do not show the necessary performance characteristics to guarantee the stability of the construction works according to the essential requirement N° 1. | ECISS/TC19/SC2: The issue was discussed at the meeting of ECISS/TC 19/SC 2 held on 26/27 November 2007. Hydrogen and stress corrosion of pre-stressing steel: This was addressed by adding to paragraph 1 of the scope after "prestressing of steel", "…, providing it is not in direct contact with concrete or cementaceous grout where special precautions are necessary,…". Scope, paragraph 2: This paragraph had previously been deleted from the draft discussed at the meeting held on 26/27 November 2007. Some members wanted the paragraph to be re-instated. After discussion, a modified scope was included based on that in prEN 10138-1. However, as the modified scope in prEN 10138-1 has proved to be less acceptable than the original scope, it is likely that the broader scope will be re-instated in the version that will be sent for COCOR Vote. | Meeting with ECISS, Germany, Portugal and Commission to be arranged |
| EN 12602 Prefabricated reinforced components of autoclaved aerated concrete | GERMANY: For the verification of the properties of the construction component design or testing are foreseen and standardized in the harmonized product standard; reference to the Eurocodes is not possible. When verifying by testing according to Annex B (indirectly referred to in Annex ZA) the necessary level of protection will not be attained (statistical analysis of the tests and determination of the characteristic values are missing). This Annex B will be excluded if necessary with the national transposition. FINLAND: GP L Methods 1, 2, 3a and 3b are introduced in Annex ZA. Method 2 (clause ZA.3.4) refers to the design Annexes based on the principles of the EN Eurocodes. Load bearing capacity values are declared including used material safety factors and serviceability aspects. All used NDPs are to be declared. Method 3a (clause ZA.3.5) is for the case when the component is ordered by another party than the manufacturer and the structural design calculations are not covered by the CE-marking. However, structural design can be prepared by the purchaser in cooperation with the manufacturer. Note: This means that also the manufacturer can make the structural design calculation outside CE-marking for made to measure products. In this case the structural design could be checked for example by local construction surveillance authorities. Method 3b (clause ZA.3.6) is for the case when structural design of the component is determined according to the purchasers order and the works and the loads affecting to the component are known. Structural design as part of the CE-marking is performed according to the design Annexes based on the principles of the EN Eurocodes | Consultant’s position on comment from Germany: The mandate gives two possibilities of verification either by testing or by calculation. There were long discussions with TC177 experts. The last draft launched for the formal vote after 2 enquiries is the best ‘compromise’ reached by the experts. It is regrettable that both methods of verification as defined in the Mandate are not accepted in all Member States The standard has passed the Formal Vote. During the discussions held in TC177 and WG meetings I tried proposing the possibilities of technical classes. The majority of experts was against as they fear that Germany would always impose the verification by calculation. The experts wanted to avoid a de facto technical barrier. For your information there were many discussions on German comments and the candidate standard passed twice the CEN enquiry. When there are two methods of assessments of a product characteristic, I would see a difficulty for the manufacturer to consider imposed method by Member States. It would mean that there are remaining technical barriers. The principle of different methods of assessment either by calculation or by testing (or testing aided by calculation) has been used widely in the standards dealing with structural products. The choice of the method belongs to the manufacturer. In my opinion a Member State should not impose a method which would not be a regulated requirement. I believe that the Eurocodes give the possibility to use those methods i.e. by calculation or by testing. | CEN/TC must examine in depth and provide an answer |
| EN 15012 Plastics piping systems – Soil and waste discharge systems within the building structure -Performance characteristics for pipes, fittings and their joints | GERMANY: The possible materials are not finally defined, therefore an evaluation whether the tests foreseen are appropriate is impossible. The provisions for sampling and installation in the test room in the context of the fire classification are not representative. The provisions for the initial type-testing and for the factory production control are insufficient regarding checking the reaction to fire. prEN 15012 contains insufficient determinations concerning material restriction, technical requirements concerning reaction to fire as well as the verification of durability. When using waste pipes and fittings made of plastic within the building structure according to this standard the justified protection level existing in Germany will not be achieved. Due to the following substantial deficiencies the implementation of the standard in Germany in the present version can only be made in combination with special restrictions of use: - The scope of the draft standard is defined as follows: "This document specifies performance requirements for non-pressure plastics pipes, fittings and their joints intended for soil and waste applications: - inside the building (application area code "B"), - buried in ground within the building structure (application area code "BD") and with a diameter greater than or equal to 75 mm, and gives associated test methods for verification and evaluation of conformity with this document." Annex B of the draft refers to a set of product standards which includes “Specifications for pipes, fittings and the system” for the relevant materials. However, Annex ZA does not refer to Annex B; therefore, this list and hence the indications on the relevant materials and the constructive properties are not included in the harmonised part of the draft standard. The materials as well as the constructive properties on which the draft is based on are, therefore, not defined in any way. This means that the harmonised standard would also apply to such sewer pipes and fittings which are with respect to materials and to constructive properties not defined by other specifications (see Annex B). However, for both the material composition and the constructive design of the piping systems there are unlimited possibilities. Nevertheless, the draft standards foresees to verify their product properties according to the criteria described in the draft without having findings on that or could have findings at all whether these criteria are applicable to such products of undefined materials and with undefined constructive properties. This opening in the future harmonised standard would – from my point of view –violate the grouping provided for in the guidance paper for harmonised standards, since a completely undefined class would be formed because of this. This concerns in particular the durability. Though test methods are stated in the draft standard for the durability of sewage pipes and fittings; whether these are also enough for still unknown materials and constructions, is however extremely dubious. Testing the temperature cycling as verification for the durability is stated in section 4.4.1. But for the durability of sewer pipes and fittings verifications of the specific material properties, the physical and chemical properties as well as those of the treatment (e.g. requirements for the impact behaviour) are decisive. The specific requirements and verifications for unknown materials and constructions and the extent of the verifications necessary for that can only be defined and specified in the individual case. This is only possible in the context of an approval procedure. German representatives on CEN/TC 155 have urgently expressed themselves against the opening clauses in the draft standard. At least two delegations, from Portugal and Germany, had raised a similar case. This concerned a corresponding opening clause in EN 10138 for pre-stressing steels. Though it is understandable that on the part of the industry there is the request to ensure that also in the future all newly developed construction products will directly be covered by harmonized standards. But it faces the fact that with this approach maintaining the national safety and protection level cannot be guaranteed. Only by research and by experience, where relevant, it can be verified that certain known criteria are applicable to newly developed materials for example. - The stipulations of the standard for the determination and surveillance of the reaction to fire are not suitable to guarantee the necessary safety level in Germany. For the verification of the reaction to fire, reference is made in Annex A of the draft standard to the assembly and fixing of construction components in the test device according to EN 13823. The opinion of the responsible German authorities is that this reference is not practice-oriented. In the former European group of the "Fire Regulators" the German representative had expressed himself against this stipulation. The test procedure according to EN 13823 was prepared in order to determine the reaction to fire of basically even construction products. The treatment of some product families, e.g. of linear construction products (pipes, ventilation ducts, cables, etc.) can therefore require special rules, as they are stated in DIN EN 13823 section 1 "Notes". The determination of the class limits for the reaction to fire according to DIN EN 13501-1 in Germany is based on investigations on even construction products. The test set-up shown in Annex A makes a mass available substantially smaller compared with planar construction products. Therefore the test results cannot be adequately evaluated with the classifications limits given. The test set-up according to Annex A of the draft standard does not represent the built-in state either, as required in section 4.3.1.1 of the Interpretative Document "Safety in case of fire". Sewers are usually installed together with other sewers and/or pipe installations the reaction to fire of which affects each other. - The regulations in sections 6.2.2 "Initial type-testing" (Table 3) and 6.3.2 "Factory Production Control Requirements" (Table 4) contain insufficient stipulations for checking the reaction to fire. The manufacturing process of the moulding material has a considerable influence on the reaction to fire. Therefore the tests have to be performed on the final product. - Regarding the statements made in Annex ZA.3.1 on the shortened CE marking reference is made to the remarks attached as enclosure. The request is made to correct the insufficiencies presented: - to delete all opening clauses from the draft standard for the consideration of unknown materials and constructions. The draft standard should solely refer to the standards stated in Annex B; - to take into account the proposals made in the context of our cooperation for the verification of the reaction to fire. |  | Discussion in SCC |
| EN 15013 and EN 15014 | NETHERLANDS: Documents PG 182 and SCC May 08 agenda item 13.2 | On behalf of CEN/TC 155 we would like to respond to the VEWIN letter as follows. Around 1993, the CPD induced the start of standardization process for the hENs. Already in 1995, CEN/TC 155 took the principal decision to prepare cluster standards. The formal decision was taken in 1999. The cluster hEN approach was decided because of a number of reasons and was supported by the CEC representatives. During the years many discussions have taken place between the CEC, the CEN consultants and a number of experts from CEN/TC 155. The first answer to Mandate M/131 was submitted in September 2000. The observations of the Commission Services were received five months later. Further discussions took place in 2003 until final agreement was reached in October 2003 and confirmed in December 2003. During these years the draft standards were updated frequently to accommodate the evolving views of the Commission and better understanding. The CEN members had been informed on the developments through reports, circulation of the draft standards and through participation in the drafting committees. The drafts were circulated to the CEN members twice in 2001, once in 2003, twice in 2004, once in 2005, once in 2006 and once in 2007, i.e. eight times in total. A total of five times comments were requested during the years 2001 to 2007. VEWIN has withdrawn from the standardization process a number of years before the letter was written. Despite of many warnings to VEWIN with explanations of the importance and possible impact this standardization work might have, VEWIN kept well away from standardization. Only during the second vote, between 2007-03-22 and 2007-07-22, i.e. the 8th time the documents were available for comment or vote, VEWIN sent a copy of the letter in question to the secretariat on 2007-05-04 with the request to circulate it to the members. Also the Dutch authorities have requested the (Dutch) secretariat of CEN/TC 155 to circulate the letter before the deadline of the vote on the draft standards. Circulation of the letter was refused, firstly because this would be seen as an attempt of influencing the voting result by an organization that did not want to participate in standardization and secondly because at least a part of the argumentation had been refuted and could cause confusion. The letter was written without the involvement of the Dutch mirror committee. However, the tenor of the VEWIN objections has been discussed between VEWIN and the members of the mirror committee, but it is understood that the mirror committee could not support the letter. CEN/TC 155 discussed the VEWIN letter in its plenary meeting of November 2007. Under the agenda item "Concern regarding calls for tenders in the light of the PPD and CPD" the chairman explained why the document (see 155 N 3171) had been circulated. He confirmed that the issue shall be approached as a real problem if VEWIN sees a real problem. In this respect it should however be noted that none of the water companies of other European countries has expressed any of these concerns. In the meeting the Dutch delegation stated that there is communication between the Dutch manufacturers association and VEWIN and that at this stage no TC action was needed. However, VEWIN had meanwhile decided not to discuss its problems until the letter of complaint had been dealt with on CEC level. This position had surprised us, because it is felt that, whatever position the SCC will take, the concern of VEWIN must be taken away. Consequently discussions may have to take place anyway. The contents of the letter of VEWIN with its annexes gives the impression that VEWIN, as a purchaser calling for tenders under the PPD, is convinced that it may not require additional durability requirements that are considered necessary for purchasing products of the same quality as the quality of the products currently installed and are considered necessary for the Dutch situation. Consequently WEVIN would be forced to accept any CE marked products that are offered in the tender that should be accepted under the PPD. Furthermore is the arguing in direct conflict with answers given by the Dutch minister responsible for the building sector to questions in the Dutch parliament from the parliamentary committee for building etc in December 2007. The minister has answered recently. CEN/TC 155 understood from many discussions that the standards should be drafted such that the properties of the CE marked products are known through the associated information. This gives the required transparency in the market. Purchasers can then determine the product requirements on the basis of intended application, the (specific) conditions of use and any national regulation. Through these product requirements the purchaser can evaluate the information that accompanies the marketed products and make his choice. The standards of CEN/TC 155 are drafted in the light of the above understanding. | Discussion in SCC |
| EN 15650 Ventilation for buildings – Duct mounted fire dampers | GERMANY: The standard comes under no mandate for product standards. CEN informs on the Internet that the standard will not be harmonized. Nevertheless, it contains an Annex ZA and in doing so refers to the horizontal mandate M117. | CEN/TC 156 position: CEN/TC 156 is still trying to secure a Mandate for EN 15650. If we do not get the Mandate by the time the document is ready for progression to Formal Vote, the Annex ZA will have to be removed; this will obviously slow down the process for the standard becoming harmonized. CMC position: CEN/TC 156 had wrongly made reference to mandate M/117. Having checked the situation more in detail, it believes that the product falls more within the scope of mandate M/109. | CEN/TC must examine in depth and provide a revised answer to mandate M109 |
| EN 15681 – 2 Glass in building – Basic alumino-silicate glass products – Part 2: Evaluation of conformity / Product standard | GERMANY: Meaningful documents which make an assessment of the product possible and, if necessary, the drafting of regulations for design and execution of construction works by using this product, are not available. Mechanical resistance and/or resistance against wind, snow and permanent loads must be indicated in “Pa”, not in “mm”. Furthermore, the standards refers to “generally accepted and/or conventional values” that may be used as basis for the declaration of the product’s performance with the CE marking. This is not appropriate as basis for setting up national regulations on design and execution of buildings. | CEN/TC 129 position: It is impossible for a manufacturer to give the ‘Mechanical resistance’ of a glass pane in Pa for the following reasons: - A harmonised mechanical calculation method does not exist. The prEN13434 was to supply the method but when sent for enquiry received a large number of negative comments. Since that time TC 129 WG 8 has been working on revised parts that could be acceptable. - The load carrying capacity of a glass pane depends on many factors that the manufacturer would not necessarily be aware of. These factors are as follows: - Type of loading, i.e. wind, snow, self weight, or a combination of these loads. - Support condition of the glass pane, e.g. 4-edge, 3-edge, 2-edge, bolted. - Orientation of the glass plate, e.g. horizontal, vertical, sloping. - Whether or not the glass pane is being installed as single glazing, being incorporated into another glass product, e.g. laminated glass, insulating glass unit. The only value in the list of “generally accepted and/or conventional values’ that has been question is that for Characteristic bending strength. The working group, at the request of the DIN experts, are preparing an amendment to make this value one that is applicable for design. Additional comments provided by the TC Chairman. | DE to examine the CEN comments. Case to be further monitored |
| EN 15682 – 2 Glass in building – Heat soaked thermally toughened alkaline earth silicate safety glass - Part 2: Evaluation of conformity / Product standard | GERMANY: Meaningful documents which make an assessment of the product possible and, if necessary, the drafting of regulations for design and execution of construction works by using this product, are not available. The provisions on the external surveillance and the retention time of the heat soaking do not correspond to an acceptable protection level. Mechanical resistance and resistance, respectively, against wind, snow and permanent loads must be indicated in "Pa", not in "mm". The failure pattern should also be tested on large panes. Furthermore, the standard refers to "generally accepted and/or conventional values" that may be used as basis for the declaration of the product's performance with the CE marking. This is not appropriate as basis for setting up national regulations on design and execution of buildings. | CEN/TC 129 position: The comment regarding ‘The provision of external surveillance and the retention time for the heat soaking do not corresponding to an acceptable protection level’ is a purely German view. The DiBT has required a third party certification, i.e. System of Attestation of Conformity – Level 1, be applied to EN 14179-2: Glass in building – Heat soaked thermally toughened soda lime silicate safety glass – Part 2: Evaluation of conformity/Product standard together with in increase in the retention time from 2 hours to 4 hours. No explanation of these changes has been given. The scientific evidence points to the heat soaking system contained with prEN 15682-2 and EN 14179-2 to be vastly superior to that existing in Germany before work on these standards commenced, The comment on ‘Mechanical resistance’ is covered above under EN 15681-2. The comment regarding ‘Failure pattern’ being tested on the largest panel has not been explained. The working group experts decided that the use of a set test specimen size for both ‘initial type testing’ and ‘product control under factory production control’ gave the manufacturer more consistency. The testing of the largest pane, i.e. the biggest that could be manufactured, will not give good process/product control. The comment on ‘Generally accepted values’ is covered above under EN 15681-2. Explicit values for ‘Characteristic bending strength’ and ‘resistance against sudden temperature changes and temperature differentials’ are given within the standard. Additional comments provided by the TC Chairman. | DE to examine the CEN comments. Case to be further monitored |
| EN 15683 – 2 Glass in building – Thermally toughened soda lime silicate channel shaped safety glass - Part 2: Evaluation conformity / product standard | GERMANY: Meaningful documents which make an assessment of the product possible and, if necessary, the drafting of regulations for design and execution of construction works by using this product, are not available. Mechanical resistance and/or resistance against wind, snow and permanent loads must be indicated in "Pa", not in "mm". Furthermore, the standards refers to "generally accepted and/or conventional values" that may be used as basis for the declaration of the product's performance with the CE marking. This is not appropriate as basis for setting up national regulations on design and execution of buildings. | CEN/TC 129 position: It is impossible for a manufacturer to give the ‘Mechanical resistance’ of a glass pane in Pa for the following reasons: - A harmonised mechanical calculation method does not exist. The prEN13434 was to supply the method but when sent for enquiry received a large number of negative comments. Since that time TC 129 WG 8 has been working on revised parts that could be acceptable. - The load carrying capacity of a glass pane depends on many factors that the manufacturer would not necessarily be aware of. These factors are as follows: - Type of loading, i.e. wind, snow, self weight, or a combination of these loads. - Support condition of the glass pane, e.g. 4-edge, 3-edge, 2-edge, bolted. - Orientation of the glass plate, e.g. horizontal, vertical, sloping. - Whether or not the glass pane is being installed as single glazing, being incorporated into another glass product, e.g. laminated glass, insulating glass unit. The only value in the list of “generally accepted and/or conventional values’ that has been question is that for Characteristic bending strength – f g,k . The working group, at the request of the DIN experts, are preparing an amendment to make this value one that is applicable for design. Additional comments provided by the TC Chairman. | DE to examine the CEN comments. Case to be further monitored |