|  | EUROPEAN COMMISSION ENTERPRISE AND INDUSTRY DIRECTORATE-GENERAL New Approach Industries, Tourism and CSR Construction, Pressure Equipment, Metrology |
| --- | --- |

CONSTRUCT 08/816

Proposal for the amendment of EN 14509 (sandwich panels)

In order to cite EN 14509 as a harmonised standard in the OJEU the Commission services have in the last meeting of the Preparatory Group made a proposal in order to achieve an acceptable solution.

The Chairman of the PG has asked Member States to send their comments within 15 days after the meeting.  No comments were received.

Therefore the Commission services now propose to the SCC to agree to the introduction of the following note in Annex ZA to the current text of the standard EN 14509:

“Note:	The reaction to fire classification derived from the provisions in this standard provides regulators and other users with an essential parameter concerning fire performance of sandwich panels. Exclusively based on fire safety needs and with explicit justification, regulators may, for specific intended uses, set additional requirements for ensuring the fire safety of the construction works, in accordance with EN 13501-1. Other classifications, such as fire resistance, may also be required to achieve the intended fire safety objectives. In addition, in exceptional cases, other instruments, such as fire safety engineering, specific to the building incorporating the products and associated assembly characteristics, may be used to assess the fire safety of the building.”

The Commission services would cite the EN 14509 amended as above in the OJEU as soon as possible after its publication by CEN.