|  | EUROPEAN COMMISSION ENTERPRISE AND INDUSTRY DIRECTORATE-GENERAL New Approach Industries, Tourism and CSR Construction, Pressure Equipment, Metrology |
| --- | --- |

CONSTRUCT 08/835 A

Brussels, November 2008

QUERIES ON HARMONIZED STANDARDS QUOTED IN THE OJEU

| EN TITLE | COMMENTS | CEN POSITION | WAY FORWARD |
| --- | --- | --- | --- |
| EN 12101 – 2 Smoke and heat control systems – Part 2: Specification for natural smoke and heat exhaust ventilators | Germany: Unclear and/or insufficient provisions concerning the initial type-testing after change of a product. | CEN/TC 191 position: The issue will be taken up by the relevant WG when finalizing the standard for the Formal Vote. | DE to verify that solution proposed in the hEN is acceptable and inform COM and MS. CEN: No information received so far |
| EN 12101-10:2005 Smoke and heat control systems – Part 10: Power supplies | EC services: The mandated characteristic "Performance parameters on failure of primary source (for power supplies – includes functioning time)" is not included but in fact the standard deals with this aspect under the characteristics operational reliability and response time. Durability is not dealt with at all, yet in the body of the standard it is under clauses: 12.8, damp heat – steady state; 12.9, vibration – sinusoidal; 12.11, SO2 corrosion; 12.12, salt spray testing. It needs to be included and these references be added to the table. Examples of CE marking They should indicate values against the mandated characteristics but they do not. This needs to be amended | CEN/TC 191 position: These comments shall be handled by TC and the result brought into the next revision of this hEN together and in accordance with an amendment of the existing answer of TC 191 to M/109, as amended by M/139. | EC to check that this ess. characteristic is covered by the mandate and if not to check if there are MS regulations. CEN: No information received so far |
| EN 12566-3:2005, Small wastewater treatment systems for up to 50 PT – Part 3: Packaged and/or site assembled domestic wastewater treatment plants. | EC services: Table ZA.1 As regards the “water tightness test” there are in fact two tests with one pass level each and two other tests with a choice of either three levels of vacuum in one case and three levels of pressure in the other (Annex A). Ultimately there are eight “pass” options. This contradicts mandate which specifies that one test should be chosen. In fact according to the table A.1, the water test in A.2 is applicable to all the products made of different materials, therefore it is difficult to understand why this test was not chosen in isolation. Similarly for the “crushing resistance and maximum load deformation”, Annex C, table C.1 lists about nine methods to determine structural behaviour whereas only one Method C.6, the “Pit test” is applicable to all materials. In addition all the other methods, other than method C.6, only produce figures to be used in national calculation procedures whilst the method C.6 determines a pass/fail requirement. Again it is difficult to understand why method C.6 was not chosen. Clause ZA.2.1 It contains an incorrect reference to the AoC Decision. It should be 1997/464/EC of the OJ 198, 25-7-1997. Table ZA.3 Assignment of evaluation of conformity tasks reflects the problems identified in Table ZA.1 above. | CEN/TC 165 position: The final draft EN 12566-3:2005/prA1:2008 has been sent to CMC on 2008-05-09 for launching a 3 month UAP. The EC queries concerning the French request are covered by this amendment. The comments of the CEN consultant have been included. | CEN: Amendment being progressed |
| EN 13108-1 to 7 Bituminous mixtures | Austria: In the Annex ZA of these harmonised standards, EN 13108-1 to EN 13108-8, the System of Attestation of Conformity is incorrect regarding the tasks of the notified body and the manufacturer. This may result in possible big differences in certification between notified bodies. Spain: Deficiencies have now also been found in a series of harmonised standards, EN 13108 Parts 1 to 7 dealing with bituminous mixtures. Their references have been published in the OJEU and their period of coexistence ends in March 2008. In this case the deficiencies relate to margins of tolerances for contents of soluble binder and for grading of aggregates. Such deficiencies are found when using Parts 20, regarding Type Testing, and 21, regarding Factory Production Control, to which all first seven parts make reference for evaluation of conformity and therefore of compulsory application for CE marking. Details are provided in the attached document which, as the previous one, was received from Directorate General for Roads. The reason for submitting this new query is once again incompatibility with the national regulatory bill, the same as in the previous query, in force since 1999. A copy of relevant pages of I this bill are included in the attached document and related paragraphs are shaded in colour. Translation of those paragraphs will be provided if requested. This regulation was the subject of a notification under 98/34/EC directive with reference number 1999/340/E, and the complete text is available in English, French and German in TRIS. | Comment from Austria CEN/TC 227 position: Information provided to the PG meeting on 2008-04-11: The changes have been done via corrigenda. CEN/TC 227 position: We note the comments of Spain to SCC concerning EN 13108 Parts 20 and 21 and are somewhat surprised that these have not previously been brought up by Spain in TC 227 which is the CEN committee which produced the documents. In the process to come to a Harmonised European Standard there are many possibilities and opportunities to comment on the draft standards in the development process. The two standards in question were drafted in a very open process within the CEN committee in which the views of all member countries were actively sought and a detailed consensus position was established. The standards 13108-20 and 13108-21were drafted over several years by a well balanced task group which included active representation from the National Highway administrations of UK, France, Germany and Denmark in addition to experts from industry. The acceptance criteria and tolerances used in many countries were examined in great depth and the standards were drafted to be as compatible as possible with established practice. After that the drafts were discussed several times in the Working Group. Then the drafts went for CEN Enquiry and in the end for Formal Vote and in each step the comments were discussed. Tolerances similar to those proposed by Spain were debated in the past in some detail but rejected and in the end TC227 came with a draft that was accepted by a large majority. In the Formal Vote process that started for prEN 13108-20 and 13108-21 on 2005-06-09 and that ended 2005-09-09 22 National members, including Spain (AENOR), approved the draft of prEN 13108-20. | ES is expected to explain why CEN TC 227 position is not acceptable |
| - EN 14080: 2005 Timber structures – Glued laminated timber – Requirements | EC services: A couple of mandated characteristics are missing from the Table Z.1. The first is dimensional stability although there is a number of long-term loading and creep tests in the body of the document which would probably suffice if referenced. The second omission is the complete disregard of the mandated characteristic "resistance to fire", there is no reference to it in table Z.1, nor any mention of the subject in the body of the standard. | CMC position: CEN/TC 124 in its revised response (CEN/TC 124 N 555 rev.1 dated 29-11-2004) has specified that dimensional stability and resistance to fire were not relevant for EN 14080 and this was confirmed in the Consultant’s letter of acceptance of the revised answer. A CMC letter was sent to the Commission, with the revised answer and the Consultant’s acceptance letter on 2004-12-16, but has remained without an answer since then. To consider Finland’s comments on the application of the GP L, CMC organized a meeting on 23rd April 2008 with the interested parties and has agreed on a strategy to improve all relevant standards. | EC and MS to re-examine CEN reply to the mandate and answer officially to CEN CEN: Awaiting EC position |
| EN 14081-1:2005 Timber structures – Strength graded structural timber with rectangular cross section – Part 1 : General Requirements | EC services: 1. Two characteristics which are identified in the mandate M112 are missing: - "Dimensional stability", which is not mentioned in the body of the standard nor Annex ZA and - "Resistance to fire", which is also neither dealt with in the body nor Annex ZA of the standard. This second characteristic is a particularly important one for structural elements and is a serious omission. 2. The CE marking label, shown in clause ZA.3.2, figure ZA.1, is not in compliance with Guidance Paper D, in that it does not indicate the last two digits of the year it was affixed, nor the number of the standard nor the EC Certificate number. It does however, contrary to the Guidance Paper, include the code letter ‘M’ (for machine grading) and ‘Dry graded’ if appropriate. If this is the minimum CE Marking, the last two digits of the year it was affixed and the number of the standard are required Further to the observations in the Commission’s document from 28 September 2007, some Austrian small enterprises face severe difficulties in applying the CE-mark on the product as given in EN 14081-1. They consider it unnecessarily cumbersome to mark every single piece of timber. Moreover there seem to be some confusion with the assignment of evaluation of conformity tasks to manufacturer and notified body. AT / BE / DE: Very expensive CE marking | CMC position: CEN/TC 124 in its revised response (CEN/TC 124 N 555 rev.1 dated 29-11-2004) has specified that dimensional stability was going to be dealt by making reference to EN 1310 (which is referred to in the normative reference clause of EN 14081-1) but is not covered in the Annex ZA. As far as resistance to fire is concerned it specified that it was not relevant and this was confirmed in the Consultant’s letter of acceptance of the revised answer. A CMC letter was sent to the Commission, with the revised answer and the Consultant’s acceptance letter on 2004-12-16, but has remained without an answer since then. TC124 will consider the Commission’s comment on dimensional stability in the amendment of the standard. A new Work Item has been created in December 2007. To consider Finland’s comments on the application of the GP L, CMC organized a meeting on 23rd April 2008 with the interested parties and has agreed on a strategy to improve all relevant standards. | EN needs to be amended to in order to solve cost problems in the standard pointed out by AT, BE, DE |
| EN 14190:2005 Gypsum plasterboard products from reprocessing – Definitions, requirements and test methods | EC services: Table ZA.2 - It fails to address "Resistance to fire" - The footnote to Table ZA.2 refers to Commission Decision 2003/43/EC which only refers to timber and related products. A better reference would have been Commission Decision 2003/593/EC, further updated by Commission Decision 2006/673/EC. Table ZA.3 - It indicates System 3 for all reaction to fire aspects, even if proxy characteristics are used by the notified body to assess it. - Fire resistance is missing. | CEN/TC 241 position: The corrigendum concerning the footnote to Table ZA.2 (to be replaced by Commission Decision 2003/593/EC, further updated by Commission Decision 2006/673/EC) is currently drafted by CEN/TC 241 WG3 and will be validated at its next meeting on June 10th, 2008. Concerning "Resistance to fire", the CEN/TC 241 position is that it is not possible to include fire resistance in the standards - because fire resistance shall be measured on works and not on gypsum plasterboards only. That is why fire resistance is not included in gypsum product standards at all. A first answer on this subject has been sent to Mr. Philippe JEAN on 28-05-1997 | EC and MS to re-examine CEN reply to the mandate and answer officially to CEN CEN: Awaiting EC position |
| EN 14250 Timber structures – Product requirements for prefabricated structural members assembled with metal plate fasteners | Finland: In autumn 2006 Finland asked the Commission to withdraw EN 14250 from the OJ due to many deficiencies. Main reason was the wrong interpretation of GP L Methods. SCC decided to extend the CE-marking co-existence period until 1.6.2008 so that TC 124 can improve the standard. So far no agreement has been achieved in TC 124 how to modify the text concerning GP L Methods. We are afraid that there is no revised standard on June 2008. In clause 5.1 (not in Annex ZA) three alternatives are given how to declare structural characteristics: - Alternative 1) is similar to GP L Method 1. - Alternative 2) refers to national design documents, when GP L Method 2 refers only to EN Eurocodes. - Alternative 3) is similar to Method 3, but no explanation on difference between Method 3a and 3b. CE-marking examples are missing for Methods 1, 2, 3a and 3b in Annex ZA. Germany has made a notification to the Commission informing that national approval is needed in addition to CE-marking for specific timber products including prefabricated structural members assembled with metal plate fasteners. | The main problem seem to be the application of the GP L. The meeting organized by CMC on the 23rd April should help TC124 to finalize the standard in line with the comments received. | CEN: Standard being amended taking into account the GPL . |
| EN 14411:2006 | POLAND: l. A reference to the standard EN 14411:2 006 on ceramic tiles has been published in OJ on the 4 December 2007. This standard is replacing the previous one, i.e. EN 14411 :2003 and in the Communication of the Commission there is a note in the last column stating that validity of the EN 14411:2 003 has expired on 30.06.2007. It means that there was no basis for the manufacturers to affix CE marking on these products in the period from 1 July 2007 up to the 4 December 2007. This lack of continuity of the reference harmonized standard available poses a serious problem to the producers of those products with placing them on the market, since market surveillance authorities, acting in accordance with the regulations, deny legality of such CE marking and refuse to accept it. 2. Besides, the new scope of the standard E N 14411:2006 has excluded a number of products which were previously covered by the standard EN 14411:2003 (such as edges, corners, skirting, capping, coves, beads, steps, curved tiles and others). Since all ceramic tiles are covered by the mandate M119 (see annex 1) there is a need to decide, whether or not the excluded products are foreseen to be harmonized, however if a new standard will not be prepared for them the products will be excluded from the CPD. |  |  |
| EN 14604:2005 Smoke alarm devices | EC services: ZA.1 All the characteristics listed in Mandate M109 are dealt with except for the characteristic "Safe containment of radioactive sources". The reason for ignoring this characteristic is contained in a note to the Scope which says that "The national requirements for radiation protection differ from country to country and they are not specified in this document. Such smoke alarms should however comply with the applicable national requirements". In the spirit of harmonisation and approximation this item should be re-visited. In the second column of table ZA.1, under the heading "Clauses in this European Standard" a number of clause references is given. It is suggested that clauses 4.12 and 4.18 are not relevant in row 1. Similarly clauses 4.1, 4.2, 4.3 and 4.19 are not relevant to row 2. | CEN/TC191 position: The query is being considered by CEN/TC191 and will be reflected in the revision of the standard. | CEN TC will amend its reply to the mandate and will sent it to EC for approval. CEN: Amendment to original answer being progressed |