|  | EUROPEAN COMMISSION ENTERPRISE AND INDUSTRY DIRECTORATE-GENERAL New Approach Industries, Tourism and CSR Construction, Pressure Equipment, Metrology |
| --- | --- |

CONSTRUCT 09/857 REV1

E-mail sent on 09/03/2009 requesting the reply of MS:

"Dear Members of the SCC,

Please note that for the following ENs, the "responsible" CEN Technical Committee has decided (unilaterally and without previous information and verification) to delete the Annex ZA from the standards. These standards are:

- EN 12416-1:2001 - Fixed firefighting systems - Powder systems- Part 1: Requirements and test methods for components

- EN 2416-2:2001 - Fixed firefighting systems - Powder systems - Part 2: Design, construction and maintenance

- EN 13565-1:2003 - Fixed firefighting systems - Foam systems - Part 1: Requirements and test methods for components

So, in absence of Annex ZA, the latest version of the above standards does not provide the basis for the CE marking of the relevant products.

In order to solve this issue properly, we need to receive confirmation from ALL delegations to the SCC, that none of the essential characteristics of the harmonised ENs is regulated for the installation of the corresponding product in your territory (or confirmation on the essential characteristics which are regulated).

Furthermore, we request from the French delegation to the SCC to inform the Commission which were the Notified Bodies involved in the evaluation of performance of the products, that the French authorities have discovered in their market bearing the CE marking."

The replies received from the MS are presented in the following Table:

| Member State | Reply | Requirements Y/N? |
| --- | --- | --- |
| Austria | For the moment I cannot give you a definitive answer, as there is no clear picture on the market situation and enforcement on federal/regional level. AT still has a valid ordinance giving the references of the (old) standards with Annex ZA, which would imply a mandatory CE marking for these products. | ? |
| Belgium | None of the essential characteristics of the harmonised ENs (EN 12416-1:2001, EN 12416-2:2001, EN 13565-1:2003) is regulated in Belgium. | N |
| Bulgaria | Bulgarian delegation to the SCC confirms that we have no regulated essential characteristics for the installation of the fixed fire-fighting systems in our territory. | N |
| Cyprus | Regarding your question I would like to inform you that there are no regulations/provisions for the implementation of the standards EN 12416-1:2001, EN 2416-2:2001 and EN 13565-1:2003. | N |
| Czech Republic | In the Czech Republic: a) there are no CE marked products on the market according to ENs 13565-1, 12416-1 and 12416-2. b) these products covered by ENs 13565-1, 12416-1 and 12416-2 are not the subject of national regulations. | N |
| Denmark | We have asked the Danish Emergency Management Agency and the answer is “N” for all three standards | N |
| Estonia | There are no specific requirements concerning the essential characteristics of the harmonised ENs for foam or powder systems. There is a general requirement in our legislation what specifies cases when automatic firefighting systems are needed. | N |
| Finland | We want to get justifications and arguments from CEN/TC 191 why these ZA-annexes have been removed. According to information what we have got powder systems (EN 12416) have been built only few in Finland. Powder systems are fixed fire fighting systems in special cases. People cannot be inside these spaces because powder is dangerous to breathe in case of fire. Nowadays there is no new demand (no use) for these products in Finland. There are German manufacturers of these products/systems. Usually these products/systems are sold as a package (kit) including components, design and installation. In EN 12416 there are two parts. Part 1 is for components but ZA- annex is only for nozzles. Part 2 (EN 12416-2) is for design, construction and maintenance but also for kits. There is a need to improve these standards. According to our understanding the deletion of ZA-annex is not the correct solution. Foam systems (EN 13565-1) are also fixed fire fighting systems in other special cases e.g. for the protection of fires with flammable liquids. There is a market demand for these products in Finland. It is possible separately to design systems and to buy components. In the standard EN 13565 there are also two parts. Part 1 is for components. We like to have this standard as a harmonised standard. Our building regulations are for buildings, not for these special cases where powder systems or foam systems have been installed. There is a decision on flammable liquids issued by Ministry of Trade and Industry. This decision makes a reference to National Building Code of Finland, especially to part E 2 Fire safety of production and warehouse buildings. There are no detailed regulations on fixed fire fighting systems e.g. sprinkler system or foam equipment or other fire-extinguishing systems. Standards or technical specifications issued by CEA (European insurance and reinsurance federation) can be used in approval of these spaces. In general, we prefer European Standards. This item is in the interest of insurance companies. | N |
| France | You requested to inform the Commission which were the Notified Bodies involved in the evaluation of performance of the powder and foam systems bearing the CE marking. After checking directly on the producers in France, we can say now that none of them have marked CE their products. ----------------------------------------- In France we have regulations: arrêté du 25 juin 1980 règlement de sécurité contre l'incendie dans les ERP, arrêté du 21 juin 1982 and arrêté du 10 juillet 1987. | ? |
| Germany |  | ? |
| Greece |  | ? |
| Hungary | None of the essential characteristics of these standards are regulated. The regulation does not refer to these standards (none of them). | N |
| Ireland | Ireland has no direct requirements for the essential characteristics set out in the 3 standards. However, all works covered by the Building Regulations in Ireland must use proper materials/products that are fit for the use for which they are intended and for the conditions in which they are to be used. | N |
| Italy | In Italy all essential characteristics of the harmonised standards EN 12416-1 and EN 12416-2 are regulated by DECRETO 5 marzo 2007, none essential characteristics of the harmonised standard EN 13565-1 are regulated. Competent Authorities published “DECRETO 5 marzo 2007 Applicazione della Direttiva n. 89/106/CEE sui prodotti da costruzione, recepita con decreto del Presidente della Repubblica 21 aprile 1993, n. 246, relativa alla individuazione dei prodotti e dei relativi metodi di controllo della conformità di Sistemi fissi di lotta contro l'incendio - Sistemi a polvere" (copy is attached) following Commission Comunication 2002/C 310/02 on 13/12/2002 (OJ C310 on 13/12/2002) in which were published the titles and references of harmonized standards EN 12416-1 and EN 12416-2 . That Decree passed information procedure 98/34 and was prepared, as other ones of same typology, in order to take the opportunity to qualify, in conformity of a harmonized standard, such products so relevant for safety of works. Furthermore Italian competent Authorities notified a Body (no. 0068) involved in the evaluation of performance of the products under EN 12416-1 and EN 12416-2 that did not issue any CE certificate. | Y (fEN 12416-1 and EN 12416-2) N (EN13565-1) |
| Latvia |  | ? |
| Lithuania |  | ? |
| Luxemburg | None of the essential characteristics of the harmonised ENs (EN 12416-1:2001, EN 12416-2:2001, EN 13565-1:2003) is regulated. | N |
| Malta |  | ? |
| Netherlands | NL has a guideline for the storage of dangerous (light flammable) substances (Publicatiereeks Gevaarlijke Stoffen nr 15). The guideline refers to extinguishing systems (kits). For acceptance by the competent authorities of these and other fire fighting kits, its extinguishing performance on specific dangerous substances must be demonstrated by an test, executed by an accredited body (so this is a test on the installed system). Another condition is that there exist for these systems international accepted design standards for the extinguishing technique of the said system. As regards CE marking: the number of fixed powder and foam systems, used in the NL is very low. For these systems NFPA, ISO and FM standards are used. As the system as a whole is tested, there is no need to test (by CE marking) its components. I learned from the Dutch standardisation institute that CEN is of the opinion that harmonised standards cannot treat systems (kits) anyway. Therefore the harmonised candidate product standards EN 12416 and 13565 should in their vision be withdrawn to become normal EN standards. | ? |
| Poland | Please be kindly informed that the Polish NB No 1438 (Research and Scientific Center for Fire Protection - CNBOP), relevant and notified for EN 13565-1, has issued none EC certificate basis on this standard so far. Hence Poland suggests to delete the Annex ZA from this standard. Likewise Poland suggests to delete also the Annexes ZA from the standards EN 12416-1 and EN 12416-2 as no NB has been notified for them so far. | N |
| Portugal | None of the essential characteristics of the harmonised ENs (EN 12416-1:2001, EN 12416-2:2001, EN 13565-1:2003) is regulated in Portugal. | N |
| Romania | The RO Standardization Body was quite surprised to find out that CEN passed over the members consulting procedure in case of the projects of new or revised standards or amendments. The RO Group of experts on fire protection of the buildings strongly supports the preservation of Annex ZA in the mentioned hENs. Even if today no Member States has explicit requirements for fixed fire-fighting foam and powder systems, the hENs are needed due to the implicit requirements provided by the designing rules. The Ministry of Regional Development and Housing (MRDH) which is the RO authority in the field of construction and the RO Standing Council on Construction shares the opinion of RO Group of experts on fire protection of the buildings. Also, MDRH expresses its worry regarding the CEN unilateral decision on changing the contain of a hEN and considers that The Commission and Standing Committee on Construction should take the appropriate measures aimed at avoiding the setting a precedent. | N |
| Slovakia | None of the essential characteristics of the harmonised ENs (EN 12416-1:2001, EN 12416-2:2001, EN 13565-1:2003) is regulated in Slovak Republic. | N |
| Slovenia | We can consider that none of the essential characteristics of the three harmonised ENs is regulated for the installation of the corresponding products in our country. | N |
| Spain | Answering your e-mail I inform you that in Spain, in this moment, there isn’t any regulation about these products. Nevertheless we are preparing a regulation in order to make compulsory the CE marking based on these standards. We hope that this new regulation will be ready soon. | N |
| Sweden | I have now got an answer from the Swedish Civil Contingencies Agency, MSB, which deals with fire and rescue issues, and they have no requirements on these products. | N |
| United Kingdom | We do not have requirements. | N |
| Switzerland | We received the confirmation from the Swiss Society of Engineers and Architects (SIA) that no applications of the standards in question are known in Switzerland. Thus, no CE-marking has been made according to these standards. From our point of view there is no necessity to maintain the standards as harmonised standards. If necessary, the relevant standards could be withdrawn from the list of harmonised standards. | N |