Europäische Kommission

GD ENTR, I/5

Herrn Leoz-Argüelles

B-1040 Brussels

Ministerialrat Gerhard Günther

Leiter des Referats B 11

hausanschrift	Invalidenstraße 44, 10115 Berlin

postanschrift	11030 Berlin

tel	030 2008-71 10

fax	030 2008-19 73

e-mail	gerhard.guenther@bmvbs.bund.de

INTERNET	www.bmvbs.de

EN 12602 Prefabricated reinforced components

betreff

Berlin, 04.05.2009

datum

B 11 – 8122.1/0

Dear Mr Leoz-Argüelles

Construct 08/835B already includes German comments concerning Annex B of this standard. However, I noted some further product characteristics that are provided for in the standard in such a way which will not lead to keep the justified level of protection in Germany. These are the following:

The standard EN 12602:2008-04 refers to withdrawn European standards or to standards which are not available: In section 4.3.1 – Steel – concerning the reinforcing steel, which is a fundamental part and essential component for the load-bearing behaviour of reinforced construction elements according to EN 12602, reference is made to the standard EN 10080 withdrawn for shortcomings; and for the stainless steel reference is made to EN 10088 which is not available. Thus EN 12602:2008-04 cannot be regarded as applicable, since this standard refers to standards which are regarded by the Commission services and the Member States unanimously as insufficient or which are not available yet.

Therefore I am asking that, prior to a publication in the Official Journal of the EU, EN 12602 be reviewed and revised to that effect that no references are made to withdrawn or unavailable standards.

In addition I would like to propose to consider the comments made by the German Standards Institute for the formal vote of EN 12602. The lack of an option to use Annexes A and B in terms of a grouping was considered to be critical. Besides, I brought up this shortcoming in the context of the last list sent to you on 2 October 2007.

The Annexes A – Design by calculation – and B – Design by testing – are an element of the harmonized part of the standard. The equivalence of both annexes is not given.

The level of protection existing in Germany cannot be reached if Annex B – Design by testing – is being applied. Determinations as to the minimum number of the required construction component tests and the statistical analyses of these tests are not given in Annex B. The gap between the tests and statistical analysis is to be closed. This annex is to be revised on the basis of EN 1990.

In the present case, therefore, the definition of classes (Annex A/Annexes A and B/Annex B) is necessary (cf. Communication of the Commission on the Interpretative Documents of the Directive 89/106/EEC (94/C 62/01) N° 1, section 1.2). I propose to introduce the missing option of the Member States for the application of Annexes A and B in prEN 12602 according to the enclosure as attached.

Should EN 12602 be published in an unrevised version, national definitions would also become necessary:

- Re: Dimensions:

- This is an editorial error:

- Concerning tolerance class T3 the requirements as to width and height were mixed up in EN 12602. The safety-related consequences, however, are enormous, if wrong dimensions form the basis. Furthermore, the designation of the plates which are used with thin-bed mortar is missing in EN 12602. This has to be corrected nationally.

- Re: Compressive strength:	
The German authorities would like to apply the foreseen safety coefficient of the not harmonized part of the standard (not referred to in Annex ZA). This is not possible with the present version.

For the safety coefficients recommended in EN 12602, Annex D, a variation coefficient Vf (construction material) equal to 0.1 is assumed. The preconditions of this assumption including the statistical analysis are to be regularly checked during factory production control – see compressive strength test for normal-weight concrete and lightweight aggregate concrete according to EN 206. The preconditions for the assumptions – Vf = 0.1 – and their statistical bases have to be corrected in EN 12602.

- Re: Shrinkage:	
The requirements for the drying shrinkage are not given in EN 12602, though this is a necessary product characteristic in Germany.

I would like to ask to pay attention to the aspects stated when revising the standard EN 12602, prior to its publication in the Official Journal.

Yours sincerely

Gerhard Günther